## IO
Rev. 1-9-15
|  |  |  | SYSTEM: | BCN04
| JOB NO. 8345 |  |  | PANEL:
|  |  |  | ACTUATED |  | DATE
ADDRESS | DEVICE NO. | N.O. | N.C. | BY | FUNCTION | TESTED | INITIAL
DI0730 | CB0107 | - | - |  | 480V CB0107 OK
DI0730 | CB0201 | - | - |  | 480V CB0201 OK
DI0730 | CB0204 | - | - |  | 480V CB0204 OK
DI0730 | CB0207 | - | - |  | 480V CB0207 OK
DI0730 | CB01210 | - | - |  | 480V CB0210 OK
DI0730 | CB0213 | - | - |  | 480V CB0213OK
DI0730 | CB0216 | - | - |  | 480V CB0216 OK
DI0730 | CB0219 | - | - |  | 480V CB0219 OK
DI0730 | CB0231 | - | - |  | 480V CB0231 OK
DI0730 | CB0234 | - | - |  | 480V CB0234 OK
DI0730 | CB0237 | - | - |  | 480V CB0237 OK
DI0730 | CB0240 | - | - |  | 480V CB0240 OK
DI0730 | CB0243 | - | - |  | 480V CB0243 OK
DI0730 | CB0246 | - | - |  | 480V CB0246 OK
DI0730 | CB0120 | - | - |  | 480V CB0120 OK
DI0730 | CB0118 | - | - |  | 480V CB0118 OK
DI0800 | CB0408 | - | - |  | 120V CB0408 OK
DI0800 | CB0410 | - | - |  | 120V CB0410 OK
DI0800 | CB0412 | - | - |  | 120V CB00412 OK
DI0800 | CB0414 | - | - |  | 120V CB00414 OK
DI0800 | CB0416 | - | - |  | 120V CB00416 OK
DI0800 | CB0418 | - | - |  | 120V CB00418 OK
DI0800 | CB0432 | - | - |  | 120V CB00432 OK
DI0800 | CB0434 | - | - |  | 120V CB00434 OK
DI0800 | CB0436 | - | - |  | 120V CB00436 OK
DI0800 | CB0508 | - | - |  | 120V CB00508 OK
DI0800 | CB0510 | - | - |  | 120V CB00510 OK
DI0800 | CB0512 | - | - |  | 120V CB00512 OK
DI0800 | CB0514 | - | - |  | 120V CB00514 OK
DI0800 | CB0516 | - | - |  | 120V CB00516 OK
DI0800 | CB0518 | - | - |  | 120V CB00518 OK
DI0800 | CB0532 | - | - |  | 120V CB00532 OK
SBK01.I.b00 | PRST | - | - |  | TRACKSWITCH IN THRU POSTION
SBK01.I.b01 | PRSD | - | - |  | TRACKSWITCH IN DIVERT POSTION
SBK01.I.b02 | PE17 | - | - |  | TRACKSWITCH PROTECTION
SBK01.O.b00 | SOL1 | - | - |  | TRACK SWITCH OPERATE THRU
SBK01.O.b01 | SOL1 |  |  |  | TRACK SWITCH OPERATE DIVERT
BK01.I.b04/b05 | CHB 1 | - | - |  | BCN04
BK01.I.b06/b07 | CHB 1 | - | - |  | BCN04
BK02.I.b04/b05 | CHB 2 | - | - |  | BCN04
BK02.I.b06/b07 | CHB 2 | - | - |  | BCN04
BK03.I.b04/b05 | CHB 3 | - | - |  | BCN04
BK03.I.b06/b07 | CHB 3 | - | - |  | BCN04
BK04.I.b04/b05 | CHB 4 | - | - |  | BCN04
BK04.I.b06/b07 | CHB 4 | - | - |  | BCN04
BK05.I.b04/b05 | CHB 5 | - | - |  | BCN04
BK05.I.b06/b07 | CHB 5 | - | - |  | BCN04
BK06.I.b04/b05 | CHB 6 | - | - |  | BCN04
BK06.I.b06/b07 | CHB 6 | - | - |  | BCN04
BK07.I.b04/b05 | CHB 7 | - | - |  | BCN04
BK07.I.b06/b07 | CHB 7 | - | - |  | BCN04
IFD4000.I.b00 | PRS3 | - | - |  | IN POSTION
IFD4000.I.b02 | PRS4 | - | - |  | CHASING
IFD4004.I.b00 | PE1 | - | - |  | ENTERING STATION
IFD4004.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4004.I.b02 | PRS4 | - | - |  | CHASING
IFD4006.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4006.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4006.I.b02 | PRS4 | - | - |  | CHASING
IFD4008.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4008.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4008.I.b02 | PRS4 | - | - |  | CHASING
IFD4010.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4010.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4010.I.b02 | PRS4 | - | - |  | CHASING
IFD4014.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4014.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4014.I.b02 | PRS4 | - | - |  | CHASING
IFD4016.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4016.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4016.I.b02 | PRS4 | - | - |  | CHASING
IFD4018.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4018.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4018.I.b02 | PRS4 | - | - |  | CHASING
IFD4020.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4020.I.b01 | PE3 | - | - |  | IN POSTION
IFD4020.I.b02 | PE4 | - | - |  | CHASING
IFD4024.I.b00 | PE1 | - | - |  | ENTERING STATION
IFD4024.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4024.I.b02 | PRS4 | - | - |  | CHASING
IFD4026.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4026.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4026.I.b02 | PRS4 | - | - |  | CHASING
IFD4028.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4028.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4028.I.b02 | PRS4 | - | - |  | CHASING
IFD4030.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4030.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4030.I.b02 | PRS4 | - | - |  | CHASING
IFD4032.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4032.I.b01 | PE3 | - | - |  | IN POSTION
IFD4032.I.b02 | PRS4 | - | - |  | CHASING
IFD4038.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4038.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4038.I.b02 | PRS4 | - | - |  | CHASING
IFD4040.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4040.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4040.I.b02 | PRS4 | - | - |  | CHASING
IFD4042.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4042.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4042.I.b02 | PRS4 | - | - |  | CHASING
IFD4044.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4044.I.b01 | PE3 | - | - |  | IN POSTION
IFD4044.I.b02 | PRS4 | - | - |  | CHASING
IFD4048.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4048.I.b01 | PE3 | - | - |  | IN POSTION
IFD4048.I.b02 | PE4 | - | - |  | CHASING
IFD4052.I.b00 | PE1 | - | - |  | ENTERING STATION
IFD4052.I.b01 | PE3 | - | - |  | IN POSTION
IFD4052.I.b02 | PRS4 | - | - |  | CHASING
IFD4058.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4058.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4058.I.b02 | PRS4 | - | - |  | CHASING
IFD4060.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4060.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4060.I.b02 | PRS4 | - | - |  | CHASING
IFD4062.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4062.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4062.I.b02 | PRS4 | - | - |  | CHASING
IFD4066.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4066.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4066.I.b02 | PRS4 | - | - |  | CHASING
IFD4068.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4068.I.b01 | PE3 | - | - |  | IN POSTION
IFD4068.I.b02 | PRS4 | - | - |  | CHASING
IFD4074.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4074.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4074.I.b02 | PRS4 | - | - |  | CHASING
IFD4076.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4076.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4076.I.b02 | PRS4 | - | - |  | CHASING
IFD4078.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4078.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4078.I.b02 | PRS4 | - | - |  | CHASING
IFD4080.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4080.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4080.I.b02 | PRS4 | - | - |  | CHASING
IFD4082.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4082.I.b01 | PE3 | - | - |  | IN POSTION
IFD4082.I.b02 | PRS4 | - | - |  | CHASING
IFD4086.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4086.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4086.I.b02 | PRS4 | - | - |  | CHASING
IFD4088.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4088.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4088.I.b02 | PRS4 | - | - |  | CHASING
IFD4090.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4090.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4090.I.b02 | PRS4 | - | - |  | CHASING
IFD4092.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4092.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4092.I.b02 | PRS4 | - | - |  | CHASING
IFD4094.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4094.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4094.I.b02 | PRS4 | - | - |  | CHASING
IFD4096.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4096.I.b01 | PE3 | - | - |  | IN POSTION
IFD4096.I.b02 | PRS4 | - | - |  | CHASING
IFD4102.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4102.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4102.I.b02 | PRS4 | - | - |  | CHASING
IFD4104.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4104.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4104.I.b02 | PRS4 | - | - |  | CHASING
IFD4106.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4106.I.b01 | PE3 | - | - |  | IN POSTION
IFD4106.I.b02 | PRS4D | - | - |  | CHASING SWITCH DIVERT POSITION
IFD4106.I.b03 | PRS4T | - | - |  | CHASING SWITCH THROUGH POSITION
IFD4112.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4112.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4112.I.b02 | PRS4 | - | - |  | CHASING
IFD4114.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4114.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4114.I.b02 | PRS4 | - | - |  | CHASING
IFD4116.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4116.I.b01 | PE3 | - | - |  | IN POSTION
IFD4116.I.b02 | PE4 | - | - |  | CHASING
IFD4120.I.b00 | PE1 | - | - |  | ENTERING STATION
IFD4120.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4120.I.b02 | PRS4 | - | - |  | CHASING
IFD4122.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4122.I.b01 | PRS3 | - | - |  | IN POSTION
IFD4122.I.b02 | PRS4 | - | - |  | CHASING
IFD4124.I.b00 | PRS1 | - | - |  | ENTERING STATION
IFD4124.I.b01 | PE3 | - | - |  | IN POSTION
IFD4124.I.b02 | PE4 | - | - |  | CHASING
IFD4128.I.b00 | PE1 | - | - |  | ENTERING STATION
IFD4128.I.b01 | PE3 | - | - |  | IN POSTION
IFD4128.I.b02 | PE4 | - | - |  | CHASING
| KASA REP. | ______________________ |  | DATE: | ______________________
| PRIME REP. | ______________________ |  | DATE: | ______________________
| END USER REP. | _______________________ |  | DATE: | _______________________